## Slide 1: 1070 – H500 Hardware
REV A
Learning & Development
Learning Module
SME Source Markham
H500-1070 l H500 Hardware v1

## Slide 2
Learning & Development
Objective
SME Source Markham
H500-1070 l H500 Hardware v1
At the completion of this module you will be able to identify and recite all concepts presented.
If you are viewing this as part of a structured training program PLEASE complete the associated assessment test. You are required to score above 80%.
Learning Module Objective
Learning Module Objective

## Slide 3
H500
Substation HMI Computer
Central Authentication Server
Security Key Distribution and Management Center
Engineering Workstation
Hardened Substation Automation computer
Rugged Industrial Automation Computer
GE’s Multilin H500 is a member of the advanced Multi-function Controller Platform (MCP), which offers a high-capacity set of modular and scalable hardware and software components, designed to simplify deployment, operation, and maintenance of automation systems for a variety of applications.
Advanced Gateway
Data collection from substation IEDs, for control & secure monitoring
Advanced Automation
Automate substation procedures using IEC 61131 compliant tools
Fault Recording & Data Logging , File Retrieval
Extract valuable data such as digital fault records and event files
Secure Remote Access
Securely access substation device locally and remotely
H500 l Hardware
Notes: GE’s Multilin H500 is a member of the advanced Multi-function Controller Platform (MCP). This platform offers a high-capacity, secure, future-proof, and substation-hardened set of modular and scalable hardware running Windows 10 IoT LTSB Operating System

## Slide 4
Physical views
Front view
Back View
Top view
Side view
Top View
Front View
Side View
Rear View
Front view
Back View
Top view
Side view
Notes: The formfactor of the H500 front and back was designed for intuitive connections and indicators were placed to provide and support operators and installers during their tasks.

## Slide 5
SD Slot
Drive activity indicator
SD, SDHC and SDXC SD Cards
Potential for data log files
Push-pull mechanism
Advantage of SD over micro-SD is lack of ejection spring
SD Slot
SD, SDHC and SDXC
Push-pull
Logs
1070 – H500 Hardware
Notes: H500 is equipped with SD slot. There is front indicators for drive, serial and network activity. Another set of LEDS to indicate access of SSD.

## Slide 6
USB – Universal Serial Bus
Front two USB 3.0 type A ports
Rear four USB 2.0 type A ports
Front and rear USB type A ports (6)
Notes: H500 at the front there is 2 USB 3.0 type A, and a type B, also there is 4 USB 2.0 connectors at the back.

## Slide 7
Local HMI Monitor display connectors
Rear Two DisplayPort video interfaces
Display Port (DP) Version 1.2 and DP++ compliant
Up to 2 monitors per port via MST
Up to UHD (4k, 3840x2160) for single display
Up to QHD (2560x1440) for multi-stream connected displays
Up to two monitors per port via MST
Note : H500 was designed with DP has mechanical latching while HDMI doesn’t have this capability.
1070 – H500 Hardware
Notes: H500 has support for two HMI dp compliant ports.

## Slide 8
Order H500
GE Grid Solutions - Substation Automation Markham Technical Support Web Library | Powered by Box
https://www.gegridsolutions.com/multilin/catalog/H500.htm
https://store.gegridsolutions.com/ViewProduct.aspx?Model=H500
Online Store
Documents, Software
Sign Up for Notifications
GE Grid Solutions - Substation Automation Markham Technical Support Web Library | Powered by Box
https://www.gegridsolutions.com/multilin/catalog/H500.htm
https://store.gegridsolutions.com/ViewProduct.aspx?Model=H500
Notes: This was a brief description of the H500 platform please feel free to visit our online resources to download manuals and access more support. We look forward to seeing you in future trainings.

## Slide 9
Thank you for having watched this educational material

## Slide 10
Thank you for having watched this educational material